## Guidance
Annual Carbon Report - Guidance Public Sector Decarbonisation Scheme
The following section is designed to give some clear guidance on how to fill out the Annual Carbon Report form for the Public Sector Decarbonisation Scheme (PSDS). If you have any questions regarding this form, please contact reporting@salixfinance.co.uk Please open in the desktop app, enable editing and automatically calculate formulas in order for this form to fully function. This is a standard requirement when downloading Excel files. Do not paste values into cells, or always paste 'as values', ensuring you are not pasting source formatting. Where the cells are formatted with dropdown lists, please use the dropdown. Please avoid using special characters. Data for all buildings with PSDS-funded measures must be filled in for this to be considered a complete form.
Guidance Index:
Background and purpose
Step 1. Input energy data
Step 2. Input non-routine changes
Frequently Asked Questions
Definitions
Steps for completing the Annual Carbon Report Form
Background and purpose
Salix wants to know how successful PSDS projects are in reducing carbon emissions. Background The aim of the Public Sector Decarbonisation Scheme is to reduce the carbon emissions from public sector buildings. Estimated carbon savings are calculated at the point of submission for all applications, based upon the calculated energy savings for all fuel types. Once projects are completed and commissioned, the actual avoided carbon emissions can be measured as a result of the PSDS projects. The annual carbon reporting (ACR) exercise collects this data to provide more accurate projections of PSDS-generated carbon savings. Purpose The ACR exercise aims to measure the extent of the carbon savings for each PSDS project for each of the three years post completion. This helps us calculate more up-to-date estimations for the avoided carbon emissions over the lifetime of the project. This data remains internal and allows us to better understand how projects bed-in post completion and where Salix can assist with resolving any issues, either on an ongoing basis or at a scheme-design stage for any future rounds of funding. Aggregated scheme-level data also helps prove the success and importance of funding carbon-reduction projects, and assists Salix in pushing for continued funding to help the public sector meet its Net Zero targets. Shift in approach for 2025 From the 2024-25 reporting period, Salix has updated its approach in collecting energy savings data in a few key ways. Firstly, we are now requesting energy usage data in a monthly format as opposed to yearly, so that a better verification of savings and seasonal analysis of your buildings can take place. Secondly, we are shifting our language from 'carbon savings' to 'avoided emissions', given the annual variations in weather, building occupancy and additional building works, amongst others. We will be calculating the avoided emissions from data entered in the ACR forms through a degree day analysis. Finally, we are also requesting further information on changes within your building since the PSDS project's conclusion, in the form of 'non-routine changes'. This is so that Salix can track changes in your building usage that may have had an impact on energy use. Providing this information on energy usage is a clause in the grant offer letter that you signed to receive PSDS funding.
Step 1. Input energy data
This sheet is where you input your measured energy data for each building with PSDS-funded energy measures. Each building/fuel type combination should be entered on a new line. This should include any fuels that were removed as part of the PSDS project. For example, if a building applied for PSDS funding to remove all fuel oil boilers and install a district heating connection, this building would require three lines of data for fuel oil, bespoke energy source, and electricity respectively. If you absolutely cannot split out energy usage per building, there are options in the drop down to select an entire site or the entire project. Where you do this, please add context in the commentary boxes.
The first two rows (coloured light yellow) have been filled in as an example row to help you visualise what to do. DO NOT attempt to edit them. They do not contribute to any data or calculations in the form.
1. Enter the building details. For each building, please provide the UPRN, the name of the building, the fuel types in it (each on a new row), and the date the final PSDS-funded measure was commissioned. 2. Enter a year's worth of monthly baseline data. Provide monthly data for each fuel type in each building. The baseline should reflect typical annual consumption before any PSDS measures were implemented and should closely align with building operations in the 2024/25 reporting period, aside from the PSDS scope. Ideally, use the 12 months immediately preceding PSDS implementation, unless that period was significantly affected by anomalies (e.g., COVID-19 restrictions). Enter the start and end dates for the baseline year, select the data source (e.g., meter readings, energy bills), and include any necessary context in the commentary boxes. If known atypical consumption occurred during the proposed baseline year, select an alternative period. If only 1–2 months were affected, leave those cells blank and explain the exclusions in the commentary 3. Provide measured energy usage data for the financial year 2024-2025. This should be provided for each fuel type in each building on a monthly basis from April 2024 to March 2025. We require data to span the financial year reporting period (i.e. April-March), no matter whether your project was completed in line with this time frame. If this is impossible, please enter the start and end dates for the data reporting period you do have and specify the context for us in the commentary box. Please specify where your data is sourced from using the drop-down. The commentary box can be used to explain the data and any anomalies you may be aware of. Any non-routine changes should be entered on tab 2. Input 0 for zero confirmed energy consumption. If energy consumption data is unavailable, atypical, or not applicable, leave the field blank and detail why in the commentary box. * For all Heat Network projects: Enter your bespoke carbon factor Any project that incorporates a heat network should enter the relevant bespoke carbon factor in the boxes at the top of this sheet (you may need to scroll to the right). It should be the same as what you confirmed to us in your final version of the project. Select the relevant fuel type when filling in your energy figures (bespoke fuel 1 or bespoke fuel 2).
Step 2. Input non-routine changes
Any non-routine changes that might have a significant impact on the 2024-2025 energy figures in each building should be entered in this step. This includes structural changes, occupancy changes, any works unrelated to the PSDS project, any changes to plant/equipment functionality, and any changes in use or operations. For the avoidance of doubt this does not include any changes relating to the intended carbon saving scope of the PSDS project and does not include variations in weather, unless extreme weather has caused a significant change in operations to cope (such as raising heating set points or running heating systems for longer hours). Normal weather variations are considered routine changes are accounted for in the degree day analysis conducted within the Annual Carbon Reporting form. The purpose is to help us understand any deviation in energy usage or carbon savings from what might be expected. It is part of good practice measurement and verification, and logging these changes will better pinpoint any necessary adjustments to allow for fair evaluation of avoided carbon emissions. For example, if a new part of the building is added between the baseline and 24/25 reporting period, it may be necessary to adjust the baseline upwards to account for this. It is not expected that every building or fuel type will have a non-routine change, although it is possible.
1. Enter building and fuel type details For each building affected by a non-routine change during 2024–2025, or by any ongoing changes occurring between the baseline and 2024-2025 reporting period, select the building name from the drop-down list. This list is populated based on your entries in the '1. Input Energy Data' tab, so please complete that section first. The building number will fill automatically. Select the fuel type impacted. For some changes, the impact may span multiple fuel types, in which case please enter the impact for each fuel on a new row. For example, a temporarily non-functional heat pump necessitating a temporary gas boiler will impact both electricity and gas consumption in the building and will require two lines. 2. Enter dates affected by the change Enter the start and (if relevant) the end date of the period of energy usage impacted. If the change is ongoing or permanent, leave the 'to' date field blank and specify it as permanent in the commentary box. 3. Select the type of change from the drop-down list. For any change type not on the list, select 'other' and describe it in the commentary box.
4. Estimate the impact of the change on your energy usage for that fuel/building combination. This does not need to be backed up by calculations or be very accurate. It is to help us understand the magnitude of the change. 5. Enter commentary Please add some commentary to help us understand the nature of the adjustment, whether it is temporary in nature, whether it is planned or unplanned, and (if relevant) any action taken to resolve an unwanted adjustment.
Frequently Asked Questions
What information should we provide for projects or measures that are not commissioned/operational yet? Please continue to provide energy readings for all buildings where measures were or are being installed with PSDS funding. For any buildings where measures are installed late, please specify the date that all measures were installed by and elaborate on this in the commentary box for that building. Please do not estimate or modify your actual usage figures – the purpose of these reports is to gather general data about the current status of the implementation of PSDS projects. We can’t provide energy usage data for the exact financial year time period (FY24/25) requested, what should we do? We very much prefer data to be provided for the entirety of FY24/25, but where this is not possible, please enter in the data you have for that time period, so for example if you only have data from January to March 2025, please just enter the data for these months and leave the rest blank. Please indicate the context in the commentary box for that row to help us understand your data. We already filled out the form last year, how does this one differ? Do I need to fill this one out? The form this year has been adapted to include more granular data on a per-month level. You need to fill out this form with data from 2024-2025, in line with your commitment to provide three years of energy data post-completion. We are not able to split out our data per building, due to a lack of building-specific data metering. How should we input our data? In a situation where building-level data is not readily available, please enter your data split by site or a total output estimate (for when it can’t be split up at all). These are options at the bottom of the building drop-down selector list. When choosing any of these alternatives, please indicate this in the commentary.
Our measured baseline figures differ from what we provided in our original application. What baseline figure should we provide? Where possible, please provide the most accurate baseline figure, even if this differs from that submitted in your original application. Be sure to indicate which year this refers to, and please explain in the commentary why this figure differs from your original baseline figure. The calculated avoided carbon emissions are different to what was listed on my original application form. Is that an issue? No. This also applies to any clients who do their own internal carbon tracking. As carbon factors are routinely updated each year, the figures may slightly differ. If the values are significantly different, please feel free to email us any questions or request clarification. Do we still need to enter data for fuels or energy types that have now been removed? Yes. It is very important that data for any removed fuels is included in the form, in order for us to see what carbon emissions have now been entirely avoided. Please enter ‘0’ for energy usage in reporting periods for which they have been removed. Failure to do this will cause your avoided emissions to be under-reported. We are concerned that the energy readings we supply you do not represent the extent of the savings that we expected or estimated. Will this negatively affect our position in regards to future schemes run by Salix? The purpose of collecting these carbon reports is to help us monitor the scheme’s effectiveness and to look for ways in which it could be improved. Therefore, it is important for us to know the accurate figures for energy consumption. This will help us better understand what support and guidance to offer.
We missed the deadline for returning our ACR, do you still want us to submit it? Yes, please submit it anyway as there is a possibility we can include it in our reporting, and may preclude us needing to follow our escalation process. How can we make Salix aware of the issues that have led to us reporting lower-than-expected savings? If you experience issues which may affect the operational use of your equipment post-installation please contact your Salix Relationship Manager, as we may be able to provide support or guidance on the issue. This will also provide useful information that can assist the development of future schemes. With regards the annual carbon reporting, any impacts on your energy figures outside of normal use should be recorded on tab 2. Non-Routine Changes. For any reason not on the list, please enter it in the commentary box. We have multiple PSDS projects. Can we put all their data together on one form? Please enter the details for each of your projects on a different form. This assists us in reporting accurately. We request one form per submission ID. Who can I contact if I have any questions? Please email reporting@salixfinance.co.uk for any further queries about this carbon reporting exercise and we can provide clarification.
Definitions
Avoided emissions | The amount of emissions that the specified interventions/measures have 'saved' due to their installation. The term avoided emissions is a more precise term for 'carbon savings' used in measurement and verification, specifying that the calculation involves emissions avoided from a projected baseline. The emissions are normally measured in tonnes of carbon dioxide equivalent emissions (tCO2e), which is equivalent to the global warming potential of a tonne of emitted carbon dioxide.
Baseline energy usage | An energy dataset that represents the normal energy usage of a site before any changes are implemented. This period should have little or no atypical events that cause unusual energy use or patterns and should be as relevant as possible to building operations in the 2024/25 reporting period, aside from the implemented changed.
Degree-day | Degree days help account for the impact of external temperature on energy use. Heating degree days (HDD) measure how much and for how long the outside temperature falls below a chosen base temperature-the point above which heating isn't needed. Cooling degree days (CDD) work in reverse, measuring temperatures above a base where cooling becomes necessary. In energy reporting, degree days help normalise temperature differences between the baseline and reporting periods. For example, if the 2024/25 reporting period is colder than the baseline, heating energy use in the baseline can be adjusted upward for a fair, like-for-like comparison. This adjustment is a key part of Measurement & Verification (M&V) good practice, allowing you to estimate what energy would have been used under current conditions-essential for accurately calculating avoided energy use and emissions.
Direct Carbon | Previously referred to as non-traded carbon, carbon emissions resulting from combustion of fossil fuels either within an organisation’s site boundary or, where heating is provided by district heating, from an off-site energy centre.
Indirect Carbon | Previously referred to as traded carbon, carbon emissions resulting from power generation off-site by another organisation. For the vast majority of public sector organisations this will primarily be carbon emissions arising from grid electricity use.
Non-routine changes | Changes to static factors that affect energy usage are called non-routine changes as they are not part of a normal, recurring (routine) process. As part of measurement and verification good practice, these should be logged in order to better separate any changes beyond baseline levels.
On-site generation | Electricity generated on-site using technologies, such as solar PV or combined heat and power (CHP), can reduce reliance on the national grid by producing energy locally. As these systems can affect metered energy consumption (electricity primarily, but also gas in the case of CHP), they should be recorded in the form using the dropdown menu if they influence either your baseline consumption or your consumption during the reporting period (FY 24/25). Please note, on-site generation should only be referenced if the measures (e.g. Solar PV and CHP), were implemented outside the scope of PSDS funding.
UPRN | Unique Property Reference Number. This is up to 12 digits in length. https://www.findmyaddress.co.uk/ may help.

## 1. Input energy data
Avoid pasting data into cells, or always paste 'as values', ensuring you are not pasting source formatting. Where the cells are formatted with dropdown lists, please use the dropdown. Please avoid using special characters.
2024-2025 PSDS Annual Carbon Report
Complete the tables below by entering energy readings for all buildings in which measures were installed as part of your PSDS grant. Please ensure you include any removed fuels as well. This current report is for Grant Recipients from Phases 1, 2, 3a, and 3b-Single Year.
Submission ID | Grant Recipient Organisation |  |  | Region | Disclose M&V plan | ACR submission date |  | Person Responsible for this ACR (This should be a representative from the Grant Recipient Organisation) |  |  | Calculated Total Avoided Emissions (tCO2e) |  |  |  | Bespoke Carbon Factor 1 (kg/kWh) | Bespoke Carbon Factor 2 (kg/kWh)
[8 empty] | Name |  |  | 0
Role
• Each fuel type for each building should be entered in a new row. In this way, a single building may span multiple rows. • The first two rows below have been laid out as an example. Please do not overwrite them. • Please scroll down through the drop down in the building number to select between building number, site number and/or entire site, depending on the data you are able to source. | [7 empty] | • Your baseline energy usage should be the standard annual amount of energy used at a normal occupancy rate, prior to the implementation of PSDS measures. It should not be a year heavily impacted by Covid restrictions. • Input 0 for zero confirmed energy consumption. If energy consumption data is unavailable, atypical, or not applicable, leave the field blank and note the reasoning in the commentary box.
[8 empty] | Energy Baseline | [15 empty] | Energy Usage 2024-2025
Building number | UPRN | Building Name | Building type | Fuel/energy type | On-site Generation Impact | Date all measures commissioned by | Region | Baseline year Start date | Baseline year End date | Month 1 Energy usage (kWh) | Month 2 Energy usage (kWh) | Month 3 Energy usage (kWh) | Month 4 Energy usage (kWh) | Month 5 Energy usage (kWh) | Month 6 Energy usage (kWh) | Month 7 Energy usage (kWh) | Month 8 Energy usage (kWh) | Month 9 Energy usage (kWh) | Month 10 Energy usage (kWh) | Month 11 Energy usage (kWh) | Month 12 Energy usage (kWh) | Data source | Commentary | 24-25 year Start date | 24-25 year End date | April Energy usage (kWh) | May Energy usage (kWh) | June Energy usage (kWh) | July Energy usage (kWh) | August Energy usage (kWh) | September Energy usage (kWh) | October Energy usage (kWh) | November Energy usage (kWh) | December Energy usage (kWh) | January Energy usage (kWh) | February Energy usage (kWh) | March Energy usage (kWh) | Calculated energy change from projected baseline (kWh/yr) | Calculated avoided emissions (tCO2e/yr) | Data source | Commentary
Example Building 1 |  | Example building name | Other | Fuel oil | Affected by CHP | 2023-01-01 | North West | 2019-04-01 | 2020-03-31 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | Energy Bills |  | 2024-04-01 | 2025-03-31 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 1080000 | 289.5845 | Energy Bills | Example commentary.
Example Building 1 |  | Example building name | Other | Electricity | Not Affected | 2023-01-01 | North West | 2019-04-01 | 2020-03-31 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | Meter Reading |  | 2024-04-01 | 2025-03-31 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | -600000 | -89.2381 | Meter Reading | Example commentary.
Average grid factors (HM Treasury Greenbook)2
| CO2e methodology | Gas |  | Gas Oil |  | Burning Oil |  | Coal | LPG | Bespoke Energy Source 1 | Fuel Oil |  | Bespoke Energy Source 2 | Electricity | Wood pellets | Wood chips
| 2024 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.14873 | 0.03744 | 0.00792
| 2025 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.12906 | 0.03744 | 0.00792
| 2026 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.096387 | 0.03744 | 0.00792
| 2027 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.071831 | 0.03744 | 0.00792
| 2028 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.062258 | 0.03744 | 0.00792
| 2029 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.052598 | 0.03744 | 0.00792
| 2030 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.048526 | 0.03744 | 0.00792
| 2031 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.04077 | 0.03744 | 0.00792
| 2032 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.032109 | 0.03744 | 0.00792
| 2033 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.025485 | 0.03744 | 0.00792
| 2034 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.020499 | 0.03744 | 0.00792
| 2035 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.019774 | 0.03744 | 0.00792
| 2036 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.019271 | 0.03744 | 0.00792
| 2037 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.018002 | 0.03744 | 0.00792
| 2038 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.017571 | 0.03744 | 0.00792
| 2039 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.016519 | 0.03744 | 0.00792
| 2040 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.015739 | 0.03744 | 0.00792
| 2041 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.015004 | 0.03744 | 0.00792
| 2042 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.014244 | 0.03744 | 0.00792
| 2043 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0089641 | 0.03744 | 0.00792
| 2044 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0083316 | 0.03744 | 0.00792
| 2045 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0077451 | 0.03744 | 0.00792
| 2046 | 0.18256 |  | 0.2694 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0075739 | 0.03744 | 0.00792
| 2047 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0052339 | 0.03744 | 0.00792
| 2048 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0050876 | 0.03744 | 0.00792
| 2049 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0032251 | 0.03744 | 0.00792
| 2050 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2051 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2052 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2053 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2054 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2055 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2056 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2057 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2058 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2059 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2060 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792
| 2061 | 0.18256 |  | 0.25679 |  | 0.24677 |  | 0.32446 | 0.2145 | 0 | 0.26813 |  | 0 | 0.0024552 | 0.03744 | 0.00792

## 2. Input non-routine changes
Avoid pasting data into cells, or always paste 'as values', ensuring you are not pasting source formatting. Where the cells are formatted with dropdown lists, please use the dropdown. Please avoid using special characters.
2024-2025 PSDS Annual Carbon Report
For any buildings where non-routine changes have occurred that will have affected 2024-2025 energy data relative to your expected baseline conditions, please enter these details in the table below.
Submission ID | Grant Recipient Organisation
• For each building affected, select the building from the drop-down. • Please ensure that each fuel impacted by each change has its own row. • Where there are multiple changes for a single building, these should be entered on separate rows. • The estimated impact on energy usage should be positive (if it acts to increase usage for that fuel), or negative for vice versa.
Building name | Building Number | Fuel/energy type | From | To | Non-routine change (select) | % Impact on energy usage (estimated) | Commentary
Example Building 1 | Building 1 | Fuel oil | 2024-11-08 |  | Occupancy/usage change | -20% | Working from home one day a week introduced.
Example Building 1 | Building 1 | Electricity | 2024-11-08 |  | Occupancy/usage change | -20% | Working from home one day a week introduced.

## PETREAD (hidden)
PET Entry:
Submission ID | Region | Disclose M&V plan? | Grant Recipent Organisation | ACR submission date | Submitter name | Submitter role | Calculated Total Avoided Emissions (tCO2e) | Bespoke Carbon Factor 1 (kg/kWh) | Bespoke Carbon Factor 2 (kg/kWh)
| 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Building Data: | [10 empty] | Energy and Saving - Baseline: | [15 empty] | Energy Usage 2024-2025 | [14 empty] | Quality Metrics | [6 empty] | Pls don't delete this or any columns to the left | Non-routine adjustments
Submission ID | Building number | UPRN | Building Name | Fuel/energy type | On-site Generation Impact | Date all measures commissioned by | Region | Baseline year start date | Baseline year end date | Baseline month 1 kWh | Baseline month 2 kWh | Baseline month 3 kWh | Baseline month 4 kWh | Baseline month 5 kWh | Baseline month 6 kWh | Baseline month 7 kWh | Baseline month 8 kWh | Baseline month 9 kWh | Baseline month 10 kWh | Baseline month 11 kWh | Baseline month 12 kWh | Baseline data source | Baseline commentary | Reporting start date | Reporting end date | Month 1 Energy usage (kWh) | Month 2 Energy usage (kWh) | Month 3 Energy usage (kWh) | Month 4 Energy usage (kWh) | Month 5 Energy usage (kWh) | Month 6 Energy usage (kWh) | Month 7 Energy usage (kWh) | Month 8 Energy usage (kWh) | Month 9 Energy usage (kWh) | Month 10 Energy usage (kWh) | Month 11 Energy usage (kWh) | Month 12 Energy usage (kWh) | Calculated energy change from counterfactual (kWh/yr) | Calculated carbon savings (tCO2e/yr) | Reporting Data source | Reporting Commentary | Adjusted R2 | Absolute Uncertainty | Relative Uncertainty | Number of Periods (Baseline) | Number of Periods (Reporting) | Data Quality | Non routine change? |  | NRC1 date from | NRC1 date to | NRC1 | NRC1 % impact | NRC1 commentary | NRC2 date from | NRC2 date to | NRC2 | NRC2 % impact | NRC2 commentary | NRC3 date from | NRC3 date to | NRC3 | NRC3 % impact | NRC3 commentary
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0
| 0 |  | 0 | 0

## NRC backing (hidden)
Building Data:
Submission ID | Building number | Building Name | Fuel/energy type | NRC1 row number | NRC2 row number | NRC3 row number
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0

## Degree-day backing sheet (hidden)
[12 empty] | East Midlands airport (1.33W,52.83N) | Norwich airport (1.30E,52.63N) | Heathrow airport (0.45W,51.48N) | Newcastle airport (1.69W,55.04N) | Manchester Airport (2.27W,53.35N) | Gatwick airport (0.19W,51.15N) | Bristol airport (2.72W,51.38N) | Birmingham Airport (1.76W,52.46N) | Leeds Bradford airport (1.67W,53.86N) | Calculated average
15.5 | EGNX | EGSH | EGLL | EGNT | EGCC | EGKK | EGGD | EGBB | EGNM | Calculated | 18.5 | EGNX | EGSH | EGLL | EGNT | EGCC | EGKK | EGGD | EGBB | EGNM | Calculated
Month | East Midlands | East of England | Greater London | North East | North West | South East | South West | West Midlands | Yorkshire and the Humber | Multiple | Month | East Midlands | East of England | Greater London | North East | North West | South East | South West | West Midlands | Yorkshire and the Humber | Multiple
2018-04-01 | 194.3 | 173.4 | 145.2 | 226.4 | 182.8 | 154.5 | 192.4 | 182.2 | 226.2 | 186.3778 | 2018-04-01 | 278.8 | 256.7 | 225.4 | 313.6 | 267.7 | 235.9 | 278.6 | 266.4 | 312.6 | 270.6333
2018-05-01 | 96.5 | 98.7 | 68.4 | 130.3 | 92.1 | 80.3 | 102.2 | 85.6 | 117 | 96.7889 | 2018-05-01 | 169.2 | 174.4 | 131.8 | 209.6 | 161.7 | 146.2 | 178.4 | 156 | 193.7 | 169
2018-06-01 | 46 | 44.5 | 18.7 | 72.5 | 34.9 | 25.8 | 30.8 | 30.2 | 57.8 | 40.1333 | 2018-06-01 | 102.8 | 104.9 | 60.7 | 144.9 | 86.5 | 73.9 | 85.8 | 80.1 | 123.7 | 95.9222
2018-07-01 | 12.9 | 10.5 | 1.1 | 27.8 | 13.9 | 4.6 | 6.2 | 7.5 | 21.8 | 11.8111 | 2018-07-01 | 45.6 | 43.8 | 15.8 | 75 | 49.3 | 27.2 | 37.7 | 32.8 | 66.3 | 43.7222
2018-08-01 | 30.6 | 23.9 | 16.2 | 46.7 | 34.8 | 21 | 27.4 | 26.4 | 42.2 | 29.9111 | 2018-08-01 | 80.9 | 64.7 | 49.7 | 108 | 89.2 | 60.9 | 85.6 | 72.9 | 103.3 | 79.4667
2018-09-01 | 80.9 | 69.3 | 59.3 | 103.9 | 87.3 | 71.7 | 73.7 | 70.4 | 103.5 | 80 | 2018-09-01 | 152.4 | 132.7 | 114.8 | 182.5 | 164.2 | 131.2 | 148.1 | 138 | 184 | 149.7667
2018-10-01 | 170.6 | 134.5 | 129 | 184.6 | 166.4 | 140.7 | 163.4 | 161 | 187.5 | 159.7444 | 2018-10-01 | 256.7 | 214.9 | 208 | 273.8 | 253 | 220.8 | 251.7 | 246.2 | 276.3 | 244.6
2018-11-01 | 232.8 | 208.3 | 199.4 | 232.7 | 217.4 | 209.7 | 223.9 | 227.1 | 255.7 | 223 | 2018-11-01 | 322.8 | 298.2 | 289.4 | 322.7 | 307.4 | 299.7 | 313.9 | 317.1 | 345.7 | 312.9889
2018-12-01 | 277.5 | 267.1 | 233.6 | 312.9 | 263.2 | 247.9 | 246.7 | 259.7 | 303.4 | 268 | 2018-12-01 | 370.5 | 360.1 | 326.6 | 405.9 | 356.2 | 340.9 | 339.7 | 352.7 | 396.4 | 361
2019-01-01 | 363.6 | 355.4 | 326.5 | 364.1 | 357 | 346.4 | 347.9 | 340.6 | 374.4 | 352.8778 | 2019-01-01 | 456.6 | 448.4 | 419.5 | 457.1 | 450 | 439.4 | 440.9 | 433.6 | 467.4 | 445.8778
2019-02-01 | 248.4 | 243.7 | 223.6 | 256.5 | 237.2 | 244.3 | 236.1 | 250 | 253.2 | 243.6667 | 2019-02-01 | 332.1 | 326.7 | 305.8 | 340.1 | 320.7 | 326.7 | 319.8 | 333.7 | 337.1 | 326.9667
2019-03-01 | 242.4 | 228 | 190.8 | 271.4 | 246.7 | 208.1 | 246.1 | 224.5 | 279.8 | 237.5333 | 2019-03-01 | 335.2 | 320.6 | 282.7 | 364.3 | 339.4 | 300.3 | 338.9 | 317.4 | 372.7 | 330.1667
2019-04-01 | 216.2 | 209.7 | 172.2 | 251.6 | 190.1 | 188.4 | 201.4 | 204.4 | 243.1 | 208.5667 | 2019-04-01 | 300.5 | 293.9 | 253.6 | 337.9 | 271.5 | 271 | 285.2 | 287.5 | 328.8 | 292.2111
2019-05-01 | 144 | 142.1 | 100.7 | 187.1 | 136.9 | 116.4 | 137.3 | 122.9 | 171.2 | 139.8444 | 2019-05-01 | 227.3 | 225.7 | 175.1 | 275.3 | 222.4 | 195.3 | 223.3 | 204.1 | 259.5 | 223.1111
2019-06-01 | 70 | 45.2 | 35.1 | 91.8 | 67.9 | 45.9 | 77.4 | 63.8 | 93.9 | 65.6667 | 2019-06-01 | 140.5 | 105.5 | 89.1 | 171.6 | 138.1 | 107.3 | 152 | 132.3 | 173 | 134.3778
2019-07-01 | 18.4 | 15.3 | 5.2 | 36.2 | 19.2 | 11.3 | 13.9 | 14.8 | 26 | 17.8111 | 2019-07-01 | 62.6 | 53.8 | 29.5 | 93.2 | 67.1 | 44.7 | 59.9 | 54.8 | 81.7 | 60.8111
2019-08-01 | 19.4 | 18.6 | 9.7 | 37 | 22.6 | 18.6 | 22.4 | 18.9 | 28.7 | 21.7667 | 2019-08-01 | 68.3 | 57.1 | 42.2 | 102.5 | 77.4 | 60.3 | 82.4 | 66.1 | 92 | 72.0333
2019-09-01 | 63.2 | 60.8 | 33.3 | 97.1 | 65.3 | 47.7 | 53.4 | 53.2 | 89.9 | 62.6556 | 2019-09-01 | 138.8 | 127.9 | 88.7 | 180.1 | 143.9 | 109.5 | 132.1 | 124.5 | 174.5 | 135.5556
2019-10-01 | 182.3 | 150.3 | 120.2 | 222.6 | 185.7 | 133.2 | 162.8 | 175.1 | 219.6 | 172.4222 | 2019-10-01 | 275.4 | 242.2 | 209.9 | 315.8 | 278.9 | 224.3 | 255.9 | 268 | 312.7 | 264.7889
2019-11-01 | 284.3 | 251.2 | 243.3 | 304.3 | 272 | 252.7 | 269.5 | 273.4 | 309 | 273.3 | 2019-11-01 | 374.3 | 341.2 | 333.3 | 394.3 | 362 | 342.7 | 359.5 | 363.4 | 399 | 363.3
2019-12-01 | 308.9 | 281.5 | 261 | 320.5 | 300.1 | 275.6 | 282.7 | 301 | 323.9 | 295.0222 | 2019-12-01 | 401.9 | 374.5 | 354 | 413.5 | 393.1 | 368.6 | 375.7 | 394 | 416.9 | 388.0222
2020-01-01 | 283.1 | 265.1 | 249.6 | 296.9 | 279.3 | 265.7 | 280.6 | 274 | 297.8 | 276.9 | 2020-01-01 | 376.1 | 358.1 | 342.6 | 389.9 | 372.3 | 358.7 | 373.6 | 367 | 390.8 | 369.9
2020-02-01 | 273.3 | 245.3 | 227.6 | 310.4 | 272.3 | 238.4 | 261.8 | 260.8 | 308.5 | 266.4889 | 2020-02-01 | 360.3 | 332.3 | 314.6 | 397.4 | 359.3 | 325.4 | 348.8 | 347.8 | 395.5 | 353.4889
2020-03-01 | 289.1 | 265.4 | 246.8 | 307.6 | 275.2 | 260.9 | 288.5 | 282.1 | 312.3 | 280.8778 | 2020-03-01 | 382 | 358.3 | 339.7 | 400.4 | 367.8 | 353.8 | 381.4 | 375 | 405.2 | 373.7333
2020-04-01 | 167.2 | 170.5 | 132.7 | 214.6 | 165.3 | 146.1 | 155.3 | 163.3 | 204.7 | 168.8556 | 2020-04-01 | 247.6 | 254 | 207 | 302.1 | 245.6 | 222.3 | 234 | 241.8 | 292 | 249.6
2020-05-01 | 119.1 | 113.1 | 81.5 | 142 | 122.6 | 101.9 | 114.7 | 107.2 | 150.7 | 116.9778 | 2020-05-01 | 189.5 | 182.7 | 143.6 | 221.5 | 196.2 | 168.7 | 188.8 | 176.3 | 230.6 | 188.6556
2020-06-01 | 65.3 | 53 | 32.7 | 89.8 | 56 | 39.7 | 59.5 | 55.2 | 97 | 60.9111 | 2020-06-01 | 132 | 111 | 85.1 | 163.2 | 119.9 | 96.8 | 127.6 | 117.5 | 169.1 | 124.6889
2020-07-01 | 38.4 | 24.7 | 16.5 | 58.3 | 44.3 | 19.6 | 34.1 | 27.2 | 69.5 | 36.9556 | 2020-07-01 | 103.5 | 73.7 | 55.5 | 131.5 | 117.8 | 62.8 | 106.1 | 86.2 | 150.7 | 98.6444
2020-08-01 | 26.7 | 12 | 11.8 | 48.6 | 30.7 | 13.2 | 23.6 | 23.7 | 45.3 | 26.1778 | 2020-08-01 | 74.9 | 42.8 | 40.7 | 115.9 | 81.6 | 43.2 | 76.1 | 69.1 | 112.7 | 73
2020-09-01 | 73.3 | 57.1 | 45.6 | 106.3 | 82.2 | 53.6 | 70.5 | 71.3 | 100.1 | 73.3333 | 2020-09-01 | 144.2 | 120.8 | 100.5 | 184.6 | 157 | 110.6 | 145.7 | 141 | 180.3 | 142.7444
2020-10-01 | 169.7 | 132.2 | 125.2 | 190.5 | 171.5 | 128.7 | 165.7 | 161.5 | 198.9 | 160.4333 | 2020-10-01 | 262.7 | 224.4 | 217 | 283.6 | 264.4 | 220.8 | 258.7 | 254.4 | 292 | 253.1111
2020-11-01 | 216.9 | 195.9 | 181.8 | 222.6 | 202.8 | 184.2 | 206.9 | 211.8 | 238.5 | 206.8222 | 2020-11-01 | 306.4 | 284 | 270.8 | 312.5 | 292.3 | 273.4 | 296.8 | 301.4 | 328.4 | 296.2222
2020-12-01 | 334.7 | 308 | 293.3 | 341.5 | 327.2 | 290.3 | 304.8 | 323.7 | 357.4 | 320.1 | 2020-12-01 | 427.7 | 401 | 386.3 | 434.5 | 420.2 | 383.3 | 397.8 | 416.7 | 450.4 | 413.1
2021-01-01 | 394.5 | 367 | 349.1 | 418.3 | 387.9 | 354.9 | 363.4 | 379.3 | 415.3 | 381.0778 | 2021-01-01 | 487.5 | 460 | 442.1 | 511.3 | 480.9 | 447.9 | 456.4 | 472.3 | 508.3 | 474.0778
2021-02-01 | 297.2 | 283.2 | 266 | 320.8 | 287.2 | 275.4 | 292.1 | 295.8 | 335.8 | 294.8333 | 2021-02-01 | 381.2 | 367.1 | 350 | 404.8 | 371.2 | 359.4 | 376.1 | 379.8 | 419.8 | 378.8222
2021-03-01 | 267.2 | 259.1 | 241.2 | 274.5 | 260.1 | 266.6 | 269.6 | 262.8 | 297.8 | 266.5444 | 2021-03-01 | 357.7 | 349.1 | 331.2 | 366.9 | 351.2 | 357.4 | 360.7 | 353.5 | 389.3 | 357.4444
2021-04-01 | 271.2 | 272.6 | 238.6 | 313 | 257.3 | 262.6 | 264.4 | 262.7 | 305.1 | 271.9444 | 2021-04-01 | 360.6 | 362.5 | 328.1 | 402.4 | 346.4 | 352.2 | 354.1 | 352.2 | 395.1 | 361.5111
2021-05-01 | 170.1 | 163 | 138.9 | 206.3 | 179.6 | 151.1 | 177.2 | 169.6 | 217.1 | 174.7667 | 2021-05-01 | 258.4 | 251.8 | 225.6 | 296.7 | 267.4 | 237.6 | 266.2 | 258.4 | 308.1 | 263.3556
2021-06-01 | 45.1 | 31 | 19.5 | 67 | 40.4 | 26.2 | 45.2 | 35.8 | 65.7 | 41.7667 | 2021-06-01 | 104.9 | 86.6 | 63.4 | 135.9 | 97.5 | 74.9 | 110.9 | 90.7 | 134.8 | 99.9556
2021-07-01 | 15.4 | 12.1 | 6.8 | 27.5 | 15.7 | 9.3 | 18.5 | 12 | 28.3 | 16.1778 | 2021-07-01 | 62.9 | 57.6 | 41 | 85.9 | 64.5 | 50.7 | 69.5 | 53 | 86.2 | 63.4778
2021-08-01 | 25.8 | 17.4 | 13.7 | 49.5 | 25 | 19.6 | 30.7 | 23.1 | 44.4 | 27.6889 | 2021-08-01 | 90.9 | 71.2 | 63.1 | 119.4 | 90.8 | 72.6 | 102.7 | 83.8 | 119.8 | 90.4778
2021-09-01 | 39.9 | 27.3 | 23.1 | 57.4 | 39.3 | 32.5 | 36.4 | 41.3 | 56.5 | 39.3 | 2021-09-01 | 97.8 | 78.6 | 70.4 | 127.5 | 98.8 | 84.5 | 99.8 | 98.8 | 127 | 98.1333
2021-10-01 | 115.6 | 106.9 | 88.3 | 140.9 | 111 | 99.6 | 103.4 | 109.6 | 145.8 | 113.4556 | 2021-10-01 | 205.8 | 194.1 | 174.1 | 229.8 | 200.2 | 186.4 | 194.9 | 199.7 | 236.4 | 202.3778
2021-11-01 | 243.2 | 219.3 | 222.5 | 241.1 | 239.3 | 231.6 | 232.9 | 235.4 | 257.7 | 235.8889 | 2021-11-01 | 333.2 | 309.3 | 312.5 | 331.1 | 329.3 | 321.6 | 322.9 | 325.4 | 347.7 | 325.8889
2021-12-01 | 295.7 | 273.5 | 238 | 324.8 | 287.5 | 241.8 | 256.2 | 270 | 324.2 | 279.0778 | 2021-12-01 | 388.7 | 366.5 | 331 | 417.8 | 380.5 | 334.8 | 349.2 | 363 | 417.2 | 372.0778
2022-01-01 | 348.3 | 324.8 | 310.4 | 324.4 | 331.2 | 326.4 | 319 | 335.8 | 342.2 | 329.1667 | 2022-01-01 | 441.3 | 417.8 | 403.4 | 417.4 | 424.2 | 419.4 | 412 | 428.8 | 435.2 | 422.1667
2022-02-01 | 250.6 | 236.4 | 212.7 | 266.9 | 244.5 | 218.9 | 239.2 | 230.6 | 282.8 | 242.5111 | 2022-02-01 | 334.6 | 320.4 | 296.7 | 350.9 | 328.5 | 302.9 | 323.2 | 314.6 | 366.8 | 326.5111
2022-03-01 | 256.6 | 246.1 | 210.4 | 276.8 | 232.4 | 227.8 | 242 | 255.7 | 273.7 | 246.8333 | 2022-03-01 | 348.5 | 337.9 | 300.5 | 368.5 | 322.6 | 318.1 | 334.2 | 346.7 | 366.2 | 338.1333
2022-04-01 | 202.8 | 187.1 | 155.9 | 234.3 | 192.6 | 172.9 | 201.2 | 195.5 | 233.3 | 197.2889 | 2022-04-01 | 289.7 | 275.5 | 239.2 | 323.5 | 279.6 | 258 | 289.1 | 282.2 | 321.9 | 284.3
2022-05-01 | 94.3 | 80.3 | 62.9 | 118.9 | 96.1 | 76.9 | 101.7 | 87.3 | 128.3 | 94.0778 | 2022-05-01 | 174.9 | 154.5 | 133.8 | 206.9 | 180 | 152 | 188.5 | 166.5 | 216.7 | 174.8667
2022-06-01 | 54.4 | 43.2 | 27.5 | 63.9 | 54.5 | 38.9 | 55 | 54.9 | 71.6 | 51.5444 | 2022-06-01 | 113.8 | 95.4 | 74.1 | 131.8 | 117.8 | 95 | 124.4 | 115.4 | 142.8 | 112.2778
2022-07-01 | 19 | 17.3 | 5.2 | 24.7 | 18.8 | 11.6 | 17.2 | 18.8 | 29.2 | 17.9778 | 2022-07-01 | 56.7 | 49.4 | 24.8 | 76.3 | 65.1 | 38.4 | 58.8 | 56.4 | 85.1 | 56.7778
2022-08-01 | 15.6 | 9.2 | 2.7 | 36.1 | 20.3 | 8.9 | 10.7 | 17.3 | 25.7 | 16.2778 | 2022-08-01 | 50.8 | 34.8 | 18.3 | 90.4 | 57.9 | 32.5 | 44.7 | 51.1 | 75.4 | 50.6556
2022-09-01 | 69.5 | 60.7 | 44.2 | 87.7 | 72.2 | 56.7 | 55.9 | 67.9 | 87.9 | 66.9667 | 2022-09-01 | 137.4 | 121.8 | 103.2 | 163.1 | 141.5 | 119.5 | 126 | 136.4 | 165.3 | 134.9111
2022-10-01 | 94.7 | 80.9 | 63.7 | 121.5 | 97.1 | 73.6 | 77.4 | 94 | 127.3 | 92.2444 | 2022-10-01 | 183.1 | 162.6 | 143.3 | 213.3 | 187.1 | 154 | 167 | 181.6 | 220 | 179.1111
2022-11-01 | 201 | 179.5 | 157.5 | 222.9 | 198.6 | 166.4 | 190.6 | 193.2 | 233.8 | 193.7222 | 2022-11-01 | 290.9 | 269.4 | 247.3 | 312.4 | 288.3 | 256.2 | 280.5 | 283.1 | 323.8 | 283.5444
2022-12-01 | 362.6 | 335.5 | 326.1 | 384.6 | 375 | 338.4 | 348.9 | 359.3 | 388 | 357.6 | 2022-12-01 | 455.6 | 428.5 | 419.1 | 477.6 | 468 | 431.4 | 441.9 | 452.3 | 481 | 450.6
2023-01-01 | 323 | 313 | 301.4 | 332.5 | 315.9 | 308.3 | 321.2 | 316.9 | 341.1 | 319.2556 | 2023-01-01 | 416 | 406 | 394.4 | 425.5 | 408.9 | 401.3 | 414.2 | 409.9 | 434.1 | 412.2556
2023-02-01 | 251.5 | 245.4 | 241.4 | 248.8 | 243.2 | 263.7 | 262.2 | 255.2 | 269.9 | 253.4778 | 2023-02-01 | 335.5 | 329.4 | 325.4 | 332.8 | 327.2 | 347.7 | 346.2 | 339.1 | 353.9 | 337.4667
2023-03-01 | 276.8 | 254.7 | 232.7 | 300 | 267.2 | 245.1 | 272.4 | 267 | 311.8 | 269.7444 | 2023-03-01 | 369.6 | 347.5 | 325.6 | 392.9 | 360 | 338 | 365.3 | 359.8 | 404.7 | 362.6
2023-04-01 | 214.3 | 210.2 | 179.4 | 238 | 200 | 195.5 | 217.1 | 210.2 | 245 | 212.1889 | 2023-04-01 | 304.1 | 299.6 | 268 | 328 | 289.8 | 284.7 | 307.1 | 300 | 335 | 301.8111
2023-05-01 | 106.1 | 114.3 | 78.6 | 133.2 | 91.6 | 94.2 | 100.3 | 99 | 125.3 | 104.7333 | 2023-05-01 | 189.4 | 202.3 | 154.7 | 219.6 | 172.9 | 174.6 | 181.9 | 179.9 | 211.1 | 187.3778
2023-06-01 | 42.3 | 38.6 | 21.4 | 69.6 | 33.6 | 26.8 | 31.8 | 37.4 | 54.4 | 39.5444 | 2023-06-01 | 91.7 | 86.4 | 53.8 | 132.3 | 75.7 | 66.1 | 76.1 | 82.4 | 112.2 | 86.3
2023-07-01 | 29.1 | 18.3 | 10.5 | 47.2 | 32.5 | 15.8 | 28.6 | 25.3 | 44.3 | 27.9556 | 2023-07-01 | 90.6 | 62 | 48.5 | 118.4 | 98.4 | 59.1 | 98.7 | 84.3 | 119.8 | 86.6444
2023-08-01 | 31.3 | 21.3 | 13.9 | 47 | 35.7 | 18.9 | 28 | 29.1 | 42.9 | 29.7889 | 2023-08-01 | 85 | 66.7 | 54.6 | 115.4 | 98.8 | 65.6 | 92.7 | 83.2 | 112.6 | 86.0667
2023-09-01 | 26.5 | 22.4 | 14.2 | 62.9 | 36.4 | 20 | 29.6 | 34.6 | 51.7 | 33.1444 | 2023-09-01 | 78.5 | 66.8 | 48 | 132.9 | 92.2 | 60 | 85.3 | 88.5 | 116.4 | 85.4
2023-10-01 | 121.1 | 106.6 | 86 | 170.4 | 135.2 | 96.5 | 110.2 | 124 | 164 | 123.7778 | 2023-10-01 | 201.7 | 182.8 | 161.9 | 257 | 220.2 | 172.9 | 195.1 | 205.6 | 251.9 | 205.4556
2023-11-01 | 246.1 | 231.3 | 214.6 | 280.1 | 257 | 222.4 | 231.8 | 246.2 | 279.4 | 245.4333 | 2023-11-01 | 336.1 | 321.3 | 304.6 | 370.1 | 347 | 312.4 | 321.8 | 336.2 | 369.4 | 335.4333
2023-12-01 | 258.7 | 241.5 | 218.8 | 307.4 | 264.1 | 224.7 | 246.8 | 253.5 | 305 | 257.8333 | 2023-12-01 | 351.7 | 334.5 | 311.8 | 400.4 | 357.1 | 317.7 | 339.8 | 346.5 | 398 | 350.8333
2024-01-01 | 322.4 | 314.2 | 306.9 | 349.5 | 330.2 | 322.6 | 331.2 | 324.7 | 360 | 329.0778 | 2024-01-01 | 415.4 | 407.2 | 399.9 | 442.5 | 423.2 | 415.6 | 424.2 | 417.7 | 453 | 422.0778
2024-02-01 | 218.9 | 203.7 | 188.9 | 260.1 | 237.4 | 199.4 | 224.6 | 217.8 | 266.4 | 224.1333 | 2024-02-01 | 305.7 | 290.5 | 275.7 | 347.1 | 324.4 | 286.4 | 311.6 | 304.7 | 353.4 | 311.0556
2024-03-01 | 230.3 | 208.5 | 201.7 | 273.4 | 236.4 | 218.3 | 246.3 | 238.7 | 284.2 | 237.5333 | 2024-03-01 | 323.1 | 301.4 | 294.2 | 366.2 | 329.3 | 311 | 339.2 | 331.6 | 377.1 | 330.3444
2024-04-01 | 181.3 | 170.2 | 153.1 | 227.2 | 185.8 | 160.6 | 190.2 | 180.6 | 227.1 | 186.2333 | 2024-04-01 | 268.4 | 254.9 | 238.9 | 316.3 | 274.3 | 248.1 | 279.5 | 268.4 | 316.3 | 273.9
2024-05-01 | 65.3 | 76.1 | 54.4 | 99.4 | 63 | 67.7 | 88.8 | 71.1 | 97.9 | 75.9667 | 2024-05-01 | 140.5 | 152.9 | 125.5 | 183.6 | 136.8 | 142.8 | 169.2 | 146.3 | 182.2 | 153.3111
2024-06-01 | 61.6 | 60.1 | 39.8 | 87.5 | 70.9 | 48.3 | 69.3 | 64.2 | 93.3 | 66.1111 | 2024-06-01 | 128.5 | 124.4 | 93.4 | 161.4 | 143.6 | 107.4 | 143.2 | 130.7 | 170.1 | 133.6333
2024-07-01 | 29 | 25.4 | 12.7 | 54.5 | 37.8 | 17.9 | 33.6 | 33.5 | 51.5 | 32.8778 | 2024-07-01 | 82.5 | 74.3 | 52 | 123 | 99.5 | 62.9 | 98.3 | 88.6 | 118.6 | 88.8556
2024-08-01 | 24.5 | 12 | 8.4 | 34.4 | 26.4 | 13 | 22.6 | 24.2 | 36.9 | 22.4889 | 2024-08-01 | 73 | 43.9 | 36.9 | 96.3 | 81.6 | 46.5 | 80 | 70.2 | 106 | 70.4889
2024-09-01 | 77.7 | 53.4 | 48.7 | 105.5 | 81.8 | 55.9 | 74.4 | 77.9 | 110 | 76.1444 | 2024-09-01 | 153.8 | 110.2 | 107.4 | 189.2 | 156.5 | 118.7 | 153.2 | 149.9 | 195.1 | 148.2222
2024-10-01 | 131.7 | 113 | 97.3 | 149.8 | 125 | 106.7 | 125.8 | 133.1 | 168.1 | 127.8333 | 2024-10-01 | 223.4 | 201.4 | 185.5 | 242.4 | 216.7 | 195.5 | 218.3 | 225.2 | 261 | 218.8222
2024-11-01 | 249.1 | 227.9 | 213.4 | 269.9 | 248.7 | 220.4 | 228.9 | 240.2 | 275.3 | 241.5333 | 2024-11-01 | 338.9 | 317 | 302.7 | 359.9 | 338.7 | 310 | 318.9 | 330 | 365.3 | 331.2667
2024-12-01 | 263.3 | 250.2 | 239 | 258.9 | 256.9 | 247.8 | 260.9 | 261.3 | 285.7 | 258.2222 | 2024-12-01 | 356.3 | 343.2 | 332 | 351.9 | 349.9 | 340.8 | 353.9 | 354.3 | 378.7 | 351.2222
2025-01-01 | 381.5 | 353.4 | 343.5 | 404.2 | 384.5 | 354.4 | 356.3 | 376 | 399.3 | 372.5667 | 2025-01-01 | 474.5 | 446.4 | 436.5 | 497.2 | 477.5 | 447.4 | 449.3 | 469 | 492.3 | 465.5667
2025-02-01 | 294.2 | 288.1 | 277.2 | 294.6 | 282.1 | 290.5 | 290.4 | 291.3 | 322.6 | 292.3333 | 2025-02-01 | 378.2 | 372.1 | 361.2 | 378.6 | 366.1 | 374.5 | 374.4 | 375.3 | 406.6 | 376.3333
2025-03-01 | 242.1 | 254.8 | 217.7 | 274.5 | 236.9 | 239.2 | 246.6 | 240.3 | 271.9 | 247.1111 | 2025-03-01 | 333.9 | 346.2 | 307.9 | 367 | 328.2 | 330.4 | 338.9 | 331.7 | 364.8 | 338.7778
2025-04-01 | 155.1 | 168.2 | 122.4 | 201.2 | 150.6 | 146.8 | 154.2 | 152.9 | 192.4 | 160.4222 | 2025-04-01 | 236.5 | 251.6 | 201.9 | 285.5 | 233 | 227 | 237.1 | 234.5 | 276.8 | 242.6556
2025-05-01 | 94.7 | 96.3 | 64.3 | 137.7 | 96 | 76.4 | 86.8 | 88.7 | 131 | 96.8778 | 2025-05-01 | 166.9 | 169.4 | 128.4 | 220.4 | 167.8 | 145.3 | 161 | 159 | 212.6 | 170.0889
Note on K4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Replace with an all-England dataset

## Calculation backing sheet (hidden)
|  |  | Degree day for baseline Month number from start date (do not change headings) | [14 empty] | Degree day for 24-25 month number from start date (do not change headings) | [11 empty] | Monthly avoided kWhs | [11 empty] | Quality Metrics
Building | Type | Fuel | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Slope | Intercept | R2 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Month 1 avoided kWh | Month 2 avoided kWh | Month 3 | Month 4 | Month 5 | Month 6 | Month 7 | Month 8 | Month 9 | Month 10 | Month 11 | Month 12 | Adjusted R2 | Absolute Uncertainty | Relative Uncertainty | Number of Periods (Baseline) | Number of Periods (Reporting) | Data Quality
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## List Backing Sheet (hidden)
Buildings List | Fuels | M&V plan? | Energy data source | Non-routine adjustments | Site Types | Building Types | Building Types (trimmed)
Building 1 | Gas | Yes | Energy Bills - Actual | Equipment non-functional | Café | Canteen | Canteen
Building 2 | Electricity | No | Energy Bills - Estimated | Floor area (heated) change | Club (not sports) | Court house | Court house
Building 3 | Bespoke Energy Source 1 |  | Energy Bills - Partially Estimated | Occupancy/usage change | Cold store | Emergency services | Emergency services
Building 4 | Bespoke Energy Source 2 |  | Meter Readings | Operating hours change | Community centre | Entertainment hall | Entertainment hall
Building 5 | Burning oil |  | Half Hourly Data | PSDS-project plant or equipment changes | Court buildings | Fire station | Fire station
Building 6 | Coal |  | Other (specify in commentary) | Set point temperature change | Fire + Ambulance station | Halls of residence | Halls of residence
Building 7 | Fuel oil |  |  | Site closure or disposal | Health centre | Health centres and clinics | Health centres and clinics
Building 8 | Gas oil |  |  | Unrelated works - additional improvements | Hospital | Hospital | Hospital
Building 9 | LPG |  |  | Unrelated works - maintenance or repair | Large distribution warehouse | Laboratory | Laboratory
Building 10 | Wood chips |  |  | Other (specify in commentary) | Leisure centre (with swimming) | Leisure centre | Leisure centre
Building 11 | Wood pellets |  |  |  | Leisure centre (without swimming) | Library | Library
Building 12 |  |  |  |  | MOD Accommodation | Military base | Military base
Building 13 |  |  |  |  | MOD Offices | Museum | Museum
Building 14 |  |  |  |  | MOD Storage | Nursing residential homes and hostels | Nursing residential homes and hostels
Building 15 |  |  |  |  | Museum, Gallery, Library | Offices | Offices
Building 16 |  |  | SY | SY reporting | Nursery | Official service residence | Official service residence
Building 17 | phase 1 | 2020 | 2021/22 | 2022/23 | Nursing home | Other | Other
Building 18 | phase 2 | 2021 early | 2021/22 | 2022/23 | Offices (public sector) | Parking buildings | Parking buildings
Building 19 | phase 3a | 2021 | 2022/23 | 2023/24 | Police station | Police station | Police station
Building 20 | Phase 3b | 2022 | 2023/24 | 2024/25 | Prison | Pre-school facility | Pre-school facility
Building 21 | Phase 3c | 2023 | 2024/25 | 2025/26 | State primary | Primary school | Primary school
Building 22 |  |  |  |  | State secondary | Prison | Prison
Building 23 |  |  |  |  | Store | Secondary school | Secondary school
Building 24 |  |  |  |  | Theatre, Concert hall, Cinema | Sixth form college | Sixth form college
Building 25 |  |  |  |  | University Non-residential building | Special school | Special school
Building 26 |  |  |  |  | University Residential building | Sports ground | Sports ground
Building 27 |  |  |  |  | Warehouse | Storage depot | Storage depot
Building 28 |  |  |  |  | Workshop | Town hall | Town hall
Building 29 |  |  |  |  | Other | University | University
Building 30 | [5 empty] | Other | Other
Building 31
Building 32
Building 33
Building 34
Building 35
Building 36
Building 37
Building 38
Building 39
Building 40
Site 1
Site 2
Site 3
Site 4
Site 5
Site 6
Site 7
Site 8
Site 9
Site 10
Entire Project